## ANNUAL (hidden)
Theater District
Strategic Management
Performance Report Card - Annual (Contract Yr. 2)
TALENTO BILINGUE DE HOUSTON/ PARKS AND FOUNTAINS
Key Performance Indicator | RFP Reference | Minimum | Minimum Results | Target | Performance | Results | Weight | Score
Strategic analyses thorough, viable and reflect industry trends | 3.10.3 | 3 | 0.67 | 4.5 | 3.5 | 0.78 | 5% | 3.9
Propose viable cost reduction measures supported with business case analysis | 3.10.5 | 3% | 0.6 | 5% | 4.3% | 0.86 | 15% | 12.9
Propose viable energy conservation measures | 3.10.6 | 1% | 0.33 | 3% | 3% | 1 | 20% | 20
Develop and maintain annual capital improvement plan |  | 3 | 0.67 | 4.5 | 3 | 0.67 | 10% | 6.7
Quality of annual budget submission |  | 3 | 0.67 | 4.5 | 4.5 | 1 | 40% | 40
Effective use of Technology |  | 3 | 0.67 | 4.5 | 4 | 0.89 | 10% | 8.9
Strategic Score | [6 empty] | 100% | 92.4
Note on F11: INPUT FIELD

## Totals by Facility
| Convention District Facilities |  |  | Theater District Facilties
| George R. Brown Convention Center | Convention District Garage | Tundra Garage | Wortham | Jones Hall | Theater District Parking | Houston First Outdoors | Miller Outdoor Theatre | Houston Center for Arts | Sunset Coffee Building | Talento Bilingue de Houston | Total
Weight by percentage | 45% | 0.3% | 2.8% | 16% | 11.5% | 9.7% | 7.8% | 2.9% | 1.9% | 1.2% | 0.9% | 100%
Scores | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
(by facility)
Scores | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
by weight
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8

## summary
Operations & Maintenance Services
Performance Report Card
Performance Report Card Summary
Pro-Rata Approach | Total Potential Point Value | George R. Brown Convention Center, Convention District Garage, and Tundra Garage | Theater District (all other Facilities, Houston First Outdoors, and Theater District Parking Facilities) | Total
Pro-Rata Percentages * |  | 50% | 50% | 100%
Regional Scores |  | 0 | 0
Total Result | 100 | 0 | 0 | 0
* Percentages are proportionally split
1) Each General Manager will complete a Performance Report Card, in the month following each six-month period of the agreement, and forward to the HFC President, with a copy to the Contractor.
2) Each Facility’s score will be multiplied by its weight for a weighted score.
3) Weighted scores will be added together to determine a total score for the previous six-month period.
4) The total score for each six-month period shall be compared to the chart below and the appropriate At-Risk Management Fee to match the score shall be awarded.

## Facility Summary
X | Facility Name: ____________________
Performance Report Card - Summary
For The Quarter Ended _____________________
| Evaluation Category | Total Potential Score | Actual Score
| Quality of Work | 250 | 250
| Management and Staffing | 150 | 131
| Financial Management | 50 | 50
| Energy Management | 50 | 50
| Total Performance Rating | 500 | 481
| Total Performance Rating (Total Actual Score divided by 5) |  | 96
At-Risk Management Fee Distribution
| Total Score per Quarter | Awarded %
| ≥ 95% | 100%
| ≥ 90% and < 95% | 95%
| ≥ 80% and < 90% | 85%
| ≥ 70% and < 80% | 50%
| < than 70% | 0%
THE SHEETS THAT HAVE COLUMNS THAT NEED INPUT ARE HIGHLIGHTED IN YELLOW
THE COLUMNS ON THE SHEET THAT NEED INPUT ARE SURROUNDED BY A RED DASHED LINE.
Note on D10: No scoring input required on this sheet. These scores are auto-fed from the underlying scoring sheets (for GRBCC). Theater District Facilities will prepare manually until a new spreadsheet is created. Please do NOT enter additional values in this column.

## Quality of Work
Facility: ___________
Performance Report Card - Quality of Work Summary
For The Quarter Ended _____________________
Key Performance Indicator |  | Points Possible | Actual Points | Targeted Points | Comments and Reasons for Variances from Targeted Points
A. | Work requests completed as scheduled | 100 | 100 | 100 | A number of staff changes are occuring for the positive. Better staff means better results
B. | Quality of Work and Contract Compliance | 150 | 150 | 150 | Quality of work is excellent. Not aware of any code violation that the testing is not planned and budgeted for.
Quality of Work Score |  | 250 | 250 | 250
THE SHEETS THAT HAVE COLUMNS THAT NEED INPUT ARE HIGHLIGHTED IN YELLOW
THE COLUMNS ON THE SHEET THAT NEED INPUT ARE SURROUNDED BY A RED DASHED LINE.
Note on D13: Please do not enter values in the "Actual Points" column. This data is auto-fed from the underlying scoring sheets.

## Quality of Work KPIs--GRBCC
Facility: GRBCC, Convention District Garage, and Tundra Garage
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 100
| 1) | HVAC - Preventive Maintenance & Repair - Temperature Problems | 50
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 50 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 35 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 20 points
PM's and Repairs completed < 60% = 0 points
| 2) | Painting and Interior Finishes | 25
High quality painting and interior finish repairs scheduled and completed without affecting events = 25 points
Quality of painting and interior finish repairs is generally acceptable, but with only a few problems = 10 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points
| 3) | Fire Alarm and Life Safety Systems | 25
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 25 points
Overall system problems minimal but not resolved = 10 points
Inspections are out of date = 0 Points
B. | Quality of Work and Contract Compliance |  | 150
| 1) | Moveable Wall Panel Preventive Maintenance, Alignment, and Finish Repairs | 50
100% satisfied = 50 points
≥ 90% and < 100% satisfied = 40 points
≥ 75% and < 90% satisfied = 25 points
≥ 50% satisfied = 10 points
< 50% satisfied = 0 points
| 2) | Lighting Replacement, Thermal Imaging Annual Survey, Electrical Problems | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Door Hardware PM's and Repairs, Door Closers, Access Controlled Doors | 50
PM's and Repairs completed @ 90% or more = 50 points
PM's and Repairs completed @ ≥ 80% and < 90% - minimal problems = 35 points
PM's and Repairs completed @ ≥ 60% and < 80% - needs to improve = 20 points
PM's and Repairs Completed @ < 60% = 0 points

## Quality of Work KPIs--Wortham
Facility: Wortham Theater Center
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 75
| 1) | HVAC - Preventive Maintenance & Repair - Temperature Problems | 50
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 50 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 35 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 20 points
PM's and Repairs Completed < 60% = 0 points
| 2) | Unscheduled Misc. Repairs, Maintenance and Emergency Repair items are completed in a timely manner. | 25
Contractor performs consistently good work, as specified = 25 points
Contractor's work is usually good. Only a few minor problems have occurred = 20 points
Contractor is doing a fair job, but has one or more major performance problems = 15 points
Contractor needs to improve performance in several major areas = 10 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
B. | Quality of Work and Contract Compliance |  | 175
| 1) | Fire Alarm and Life Safety Systems | 50
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 50 points
Overall system problems minimal but not resolved = 25 points
Inspections are out of date = 0 Points
| 2) | Restrooms, Plumbing Fixtures and Drainage Systems Maintenance and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Lighting and Electrical Replacement and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 4) | Painting and Interior Finishes | 25
High quality painting and interior finish repairs scheduled and completed without affecting events = 25 points
Quality of painting and interior finish repairs is generally acceptable, with only a few problems = 10 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points

## Quality of Work KPIs-Jones Hall
Facility: Jones Hall for the Performing Arts
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 100
| 1) | HVAC - Preventive Maintenance & Repair - Temperature Problems | 100
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 100 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 70 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 40 points
PM's and Repairs Completed < 60% = 0 points
B. | Quality of Work and Contract Compliance |  | 150
| 1) | Fire Alarm and Life Safety Systems | 50
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 50 points
Overall system problems minimal but not resolved = 20 points
Inspections are out of date = 0 Points
| 2) | Lighting and Electrical Replacement and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Painting and Interior Finishes | 50
High quality painting and interior finish repairs scheduled and completed without affecting events = 50 points
Quality of painting and interior finish repairs is generally acceptable, but with only a few problems = 20 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points

## Qual. of Work KPIs-T.D. Parking
Facility: Theater District Parking
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Electrical Maintenance (lights, ballasts, generators & elect. Equip.) |  | 50
| 1) | Timely Response to critical/emergency issues. | 20
If responded to ≤ 30 minutes = 20 points
If responded to ≤ 60 minutes = 15 points
If responded to ≤ 2 hours = 10 points
If responded to > 2 hours = 0 points
| 2) | Timely completion of monthly Preventive Maintenance and Work Order requests | 20
Contractor performs consistently good work, as specified = 20 points
Contractor's work is usually good. Only a few minor problems have occurred = 15 points
Contractor is doing a fair job, but has one or more major performance problems = 10 points
Contractor needs to improve performance in several major areas = 5 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Projects completed within the schedule determined at the time of project approval, to the extent within Contractor's control. | 10
Within one week of schedule = 10 Points
Within 1.5 weeks of scheduled completion = 8 points
Within 2 weeks of schedule completion= 5 points
Within 3 weeks of schedule completion = 2 points
B. | Exhaust and Supply Fan Maintenance |  | 50
| 1) | Contractor complies with the terms of the Agreement in all material respects. | 20
≥ 95% satisfied = 20 points
≥ 90% and < 95% satisfied = 15 points
≥ 80% and < 90% satisfied = 10 points
≥ 70% and < 80% satisfied = 5 points
< 70% satisfied = 0 points
| 2) | Quality of work is good and work is completed as specified. | 20
Contractor performs consistently good work, as specified = 20 points
Contractor's work is usually good. Only a few minor problems have occurred = 15 points
Contractor is doing a fair job, but has one or more major performance problems = 10 points
Contractor needs to improve performance in several major areas = 5 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Detailed log in machinery area near each piece of machinery. | 10
If detailed log is kept near all machinery areas = 10 points
If detailed log is kept near 75% or more of the machinery areas = 8 points
If detailed log is kept at least near 50% of the machinery areas but less than 75% = 5 points
If detailed logs are not kept or less than 50% of machinery areas have logs = 0 points
C. | Pump Maintenance (sump pumps, sewer pumps & dewatering pumps) |  | 50
| 1) | Contractor complies with the terms of the Agreement in all material respects. | 20
≥ 95% satisfied = 20 points
≥ 90% and < 95% satisfied = 15 points
≥ 80% and < 90% satisfied = 10 points
≥ 70% and < 80% satisfied = 5 points
< 70% satisfied = 0 points
| 2) | Quality of work is good and work is completed as specified. | 20
Contractor performs consistently good work, as specified = 20 points
Contractor's work is usually good. Only a few minor problems have occurred = 15 points
Contractor is doing a fair job, but has one or more major performance problems = 10 points
Contractor needs to improve performance in several major areas = 5 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Detailed log in machinery area near each piece of machinery. | 10
If detailed log is kept near all machinery areas = 10 points
If detailed log is kept near 75% or more of the machinery areas = 8 points
If detailed log is kept at least near 50% of the machinery areas but less than 75% = 5 points
If detailed logs are not kept or less than 50% of machinery areas have logs = 0 points
D. | Air Handler, Chiller, & A/C Units (for offices & tunnels) Maintenance |  | 50
| 1) | Contractor complies with the terms of the Agreement in all material respects. | 20
≥ 95% satisfied = 20 points
≥ 90% and < 95% satisfied = 15 points
≥ 80% and < 90% satisfied = 10 points
≥ 70% and < 80% satisfied = 5 points
< 70% satisfied = 0 points
| 2) | Quality of work is good and work is completed as specified. | 20
Contractor performs consistently good work, as specified = 20 points
Contractor's work is usually good. Only a few minor problems have occurred = 15 points
Contractor is doing a fair job, but has one or more major performance problems = 10 points
Contractor needs to improve performance in several major areas = 5 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Detailed log in machinery area near each piece of machinery. | 10
If detailed log is kept near all machinery areas = 10 points
If detailed log is kept near 75% or more of the machinery areas = 8 points
If detailed log is kept at least near 50% of the machinery areas but less than 75% = 5 points
If detailed logs are not kept or less than 50% of machinery areas have logs = 0 points
E. | Painting and Interior Finishes |  | 25
| 1) | Timely completion of Work Order requests | 10
If monthly Work Orders are 100% completed = 10 points (Reasonable allowances will be made for Work Order requests made at the end of the month)
If monthly Work Order requests are completed by 90% or more, but not completely finished due to extenuating factors = 8 points
If monthly Work Order requests are only partially completed, by 50% or more, but less than 90% completed, due to factors within Contractor's control = 5 points
If monthly Preventive Maintenance and/or Work Order work is not performed, or if either is less than 50% completed = 0 points
| 2) | Quality of Work | 15
High quality painting and wall repairs scheduled and completed = 15 points
Quality of painting and wall repairs is satisfactory with only a few problems = 10 points
Poor quality performance, lack of supplies and scheduling problems = 5 Points
If monthly Preventive Maintenance and/or Work Order work is not performed, or if either is less than 50% completed = 0 points
F. | Life Safety Systems Maintenance |  | 25
| 1) | Contractor complies with the terms of the Agreement in all material respects. | 10
≥ 90% satisfied = 10 points
≥ 80% and < 90% satisfied = 8 points
≥ 70% and < 80% satisfied = 5 points
< 70% satisfied = 0 points
| 2) | Fire Alarm and Life Safety Systems quality of work is good and work is completed as specified. | 15
All Inspections, Certifications, Fire Pumps, Emergency Generators, on schedule, email notification and status = 15 points
Overall system problems minimal but not resolved = 10 points
Inspections are out of date = 0 Points

## Qual. of Work KPIs-H.F.Outdoors
Facility: Houston First Outdoors
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 200
| 1) | HVAC - Preventive Maintenance & Repair - Temperature Problems | 50
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 50 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 40 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 30 points
PM's and Repairs completed <60% = 0 points
| 2) | Lighting and Electrical Replacement and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Restrooms, Plumbing and Drainage Systems | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 4) | Unscheduled Repairs, Maintenance and Emergency Repair Items are completed in a timely manner. | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
B. | Quality of Work and Contract Compliance |  | 50
| 1) | Fire Alarm and Life Safety Systems | 25
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 25 points
Overall system problems minimal but not resolved = 10 points
Inspections are out of date = 0 Points
| 2) | Painting, Door Repair, Maintenance of Exterior and Interior Finishes | 25
High quality painting and interior/exterior finish repairs scheduled and completed without affecting events = 25 points
Quality of painting and interior/exterior repairs is generally acceptable, with only a few problems = 10 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points

## Qual.ofWork KPIs-Miller Theatre
Facility: Miller Outdoor Theatre
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 50
| 1) | HVAC System - Preventive Maintenance & Repairs - Temperature Problems | 50
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 50 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 35 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 20 points
PM's and Repairs Completed < 60% = 0 points
B. | Quality of Work and Contract Compliance |  | 200
| 1) | Door Hardware PM's & Repairs | 50
PM's and repairs completed ≥ 90% = 50 points
PM's and repairs completed ≥ 80% and < 90% - minimal problems = 35 points
PM's and repairs completed ≥ 60% and < 80% - needs to improve = 20 points
PM's and repairs completed < 60% = 0 points
| 2) | Restrooms, Plumbing Fixtures and Drainage Systems Maintenance and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Lighting & Electrical Replacement and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 4) | Fire Alarm and Life Safety Systems | 25
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 25 points
Overall system problems minimal but not resolved = 20 points
Inspections are out of date = 0 Points
| 5) | Painting and Interior Finishes | 25
High quality painting and interior finish repairs scheduled and completed without affecting events = 25 points
Quality of painting and interior finish repairs is generally acceptable, with only a few problems = 15 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points

## Qual.ofWork KPIs-HCA
Facility: Houston Center for the Arts
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 75
| 1) | HVAC - Preventive Maintenance and Repairs - Temperature Problems | 50
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 50 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 35 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 20 points
PM's and Repairs completed < 60% = 0 points
| 2) | Unscheduled Misc. Repairs, Maintenance and Emergency Repair items are completed in a timely manner. | 25
Contractor performs consistently good work, as specified = 25 points
Contractor's work is usually good. Only a few minor problems have occurred = 20 points
Contractor is doing a fair job, but has one or more major performance problems = 15 points
Contractor needs to improve performance in several major areas = 10 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
B. | Quality of Work and Contract Compliance |  | 175
| 1) | Fire Alarm and Life Safety Systems | 50
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 50 points
Overall system problems minimal but not resolved = 20 points
Inspections are out of date = 0 Points
| 2) | Painting and Interior Finishes | 50
High quality painting and interior finish repairs scheduled and completed without affecting events = 50 points
Quality of painting and interior finish repairs is generally acceptable, with only a few problems = 20 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points
| 3) | Restrooms, Plumbing Fixtures and Drainage Systems Maintenance and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 4) | Lighting & Electrical Replacement and Repair | 25
Contractor performs consistently good work, as specified = 25 points
Contractor's work is usually good. Only a few minor problems have occurred = 20 points
Contractor is doing a fair job, but has one or more major performance problems = 15 points
Contractor needs to improve performance in several major areas = 10 points
Contractor's quality of work is not good, work is not completed as specified = 0 points

## Qual.ofWork KPIs-Sunset Coffee
Facility: Sunset Coffee Building
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 150
| 1) | HVAC - Preventive Maintenance & Repair - Temperature Problems | 100
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 100 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 80 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 60 points
PM's and Repairs completed <60% = 0 points
| 2) | Unscheduled Repairs, Maintenance and Emergency Repair Items are completed in a timely manner. | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
B. | Quality of Work and Contract Compliance |  | 100
| 1) | Fire Alarm and Life Safety Systems | 25
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 25 points
Overall system problems minimal but not resolved = 10 points
Inspections are out of date = 0 Points
| 2) | Lighting and Electrical Replacement and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Painting and Interior Finishes | 25
High quality painting and interior finish repairs scheduled and completed without affecting events = 25 points
Quality of painting and interior finish repairs is generally acceptable, but with only a few problems = 10 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points

## Quality of Work KPIs-TBH
Facility: Talento Bilingue de Houston
Performance Report Card - Quality of Work Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Work requests completed as scheduled |  | 100
| 1) | HVAC - Preventive Maintenance & Repair - Temperature Problems | 100
PM's and Repairs completed ≥ 90% - infrequent temperature problems = 100 points
PM's and Repairs completed ≥ 80% and < 90% - minimal temperature problems = 70 points
PM's and Repairs completed ≥ 60% and < 80% - frequent temperature problems = 40 points
PM's and Repairs completed < 60% = 0 points
B. | Quality of Work and Contract Compliance |  | 150
| 1) | Fire Alarm and Life Safety Systems | 50
All inspections, certifications, fire pumps, emergency generators on schedule, e-mail notification and status reports are timely = 50 points
Overall system problems minimal but not resolved = 20 points
Inspections are out of date = 0 Points
| 2) | Lighting and Electrical Replacement and Repair | 50
Contractor performs consistently good work, as specified = 50 points
Contractor's work is usually good. Only a few minor problems have occurred = 40 points
Contractor is doing a fair job, but has one or more major performance problems = 30 points
Contractor needs to improve performance in several major areas = 20 points
Contractor's quality of work is not good, work is not completed as specified = 0 points
| 3) | Painting and Interior Finishes | 50
High quality painting and vinyl repairs scheduled and completed without affecting events = 50 points
Quality of painting and vinyl repairs is generally acceptable, but with only a few problems = 20 points
Poor quality performance, lack of supplies and scheduling problems = 0 Points

## Management and Staffing
Facility: ___________
Performance Report Card - Management and Staffing Summary
For The Quarter Ended _____________________
Key Performance Indicator |  | Points Possible | Actual Points | Targeted Points | Comments and reasons for Variances from Targeted Points
A. | Customer Satisfaction | 100 | 100 | 100 | Customer satisfaction is good. Response to immediate problems is excellent
B. | Compliance with all personnel requirements | 25 | 21 | 21 | We are currently short staffed in 2 positions but are aggressively trying to fill these voids.
C. | Communications | 25 | 10 | 10 | Communications are generally good, but HFC management was not given updates about service requests in a timely manner.
Quality Score | Quality Score | 150 | 131 | 131
THE SHEETS THAT HAVE COLUMNS THAT NEED INPUT ARE HIGHLIGHTED IN YELLOW
THE COLUMNS ON THE SHEET THAT NEED INPUT ARE SURROUNDED BY A RED DASHED LINE.
Note on D11: Please do not enter values in the "Actual Points" column. This data is auto-fed from the underlying scoring sheets.

## Mgmt and Staffing KPIs
Facility: ___________
Performance Report Card - Management and Staffing Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. |  | Customer Satisfaction | 100
| 1) | Completed Work Orders in Maintenance Edge system | 40
≥ 95% satisfied = 40 points
≥ 90% and <95% satisfied = 30 points
≥ 80% and <90% satisfied = 20 points
≥ 70% and <80% satisfied = 10 points
Less than 70% = 0 points
| 2) | Completed Preventive Maintenance items in Maintenance Edge system | 30
≥ 95% satisfied = 30 points
≥ 90% and <95% satisfied = 25 points
≥ 80% and <90% satisfied = 15 points
≥ 70% and <80% satisfied = 5 points
Less than 70% = 0 points
| 3) | On-site managers perform weekly walk-through inspections and write work orders to make pro-active repairs | 15
Weekly walk-through inspection completed and documented = 15 points
Weekly walk-through inspection is conducted late or documentation is late = 5 points
Weekly walk-through inspection not completed and/or not documented = 0 points
| 4) | Staff has sense of urgency to provide prompt service, responds quickly during events | 15
Contractor's employees schedule services in advance and sign in and out at each Facility = 15 points
Contractor's employees schedule services in advance and sign in and out most of the time (75% of the time or more) = 10 points
Contractor's employees show up unexpectedly and/or do not sign in and out as required = 0 points
B. | Compliance with all personnel requirements |  | 25
| 1) | Compliance with personnel pre-approval requirements -- licenses, certifications, reference and experience checks, background/security and drug testing | 10
≥ 95% satisfied = 10 points
≥ 90% and <95% satisfied = 8 points
≥ 80% and <90% satisfied = 6 points
≥ 70% and <80% satisfied = 4 points
Less than 70% = 0 points
| 2) | On-site staffing requirements satisfied. Contractor makes reasonable efforts to recruit new employees to fill vacant positions. | 6
≥ 95% satisfied = 10 points
≥ 90% and < 95% satisfied = 8 points
≥ 80% and <90% satisfied = 6 points
≥ 70% and <80% satisfied = 4 points
< 70% satisfied = 0 points
| 3) | Employees and staff are knowledgeable in service areas and have scheduled operational training and testing | 5
Staff meet qualifications in technical areas Yes = 5 Points
Staff meet qualifications in technical areas No = 0 Points
C. | Communications |  | 25
| 1) | HFC Managers receive accurate reports and updates on projects and repairs | 15
≥ 95% satisfied = 15 points
≥ 90% and < 95% satisfied = 12 points
≥ 80% and < 90% satisfied = 8 points
≥ 70% and <80% satisfied = 4 points
< 70% or requirements not met = 0 points
| 2) | Informed General Managers of service request status the same day as requested | 0
Informed General Manager of call status (daily) Yes = 10
Informed General Manager of call status (daily) No = 0

## Financial Management
Facility: ___________
Performance Report Card - Financial Management Summary
For The Quarter Ended _____________________
Key Performance Indicator |  | Points Possible | Actual Points | Targeted Points | Comments for less than Targeted Points
A. | Actual maintenance and repair costs managed to approved budget | 25 | 25 | 25
B. | Required reports complete, accurate and on-time | 15 | 15 | 15
C. | Permits, code and documentation compliance, complete and accurate | 10 | 10 | 10
Financial Score | Financial Score | 50 | 50 | 50
THE SHEETS THAT HAVE COLUMNS THAT NEED INPUT ARE HIGHLIGHTED IN YELLOW
THE COLUMNS ON THE SHEET THAT NEED INPUT ARE SURROUNDED BY A RED DASHED LINE.
Note on D12: Please do not enter values in the "Actual Points" column. This data is auto-fed from the underlying scoring sheets.

## Financial KPIs
Facility: ___________
Performance Report Card - Financial Summary
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Actual maintenance and repair costs managed to approved budget |  | 25
| 1) | Controls energy and utility usage and all costs within the Budget | 10
≥ 95% satisfied = 10 points
≥ 90% and <95% satisfied = 7 points
≥ 80% and < 90% satisfied = 5 points
≥ 70% and < 80% satisfied = 3 points
< 70% or requirements not met = 0 points
| 2) | Manages subcontracted services--uses subcontractors when appropriate, takes competitive bids, obtains General Manager approvals, maximizes service while minimizing cost | 10
≥ 95% satisfied = 10 points
≥ 90% and <95% satisfied = 7 points
≥ 80% and < 90% satisfied = 5 points
≥ 70% and < 80% satisfied = 3 points
< 70% or requirements not met = 0 points
| 3) | Properly schedules and manages labor to minimize and eliminate overtime | 5
Met requirements = 5 points
Requirements not met = 0 points
B. | Required reports complete, accurate and on-time |  | 15
| 1) | All work orders, requests and preventive maintenance items are accurately registered and reported in Maintenance Edge system. | 10
≥ 95% satisfied = 10 points
≥ 90% and <95% satisfied = 7 points
≥ 80% and < 90% satisfied = 5 points
≥ 70% and < 80% satisfied = 3 points
< 70% or requirements not met = 0 points
| 2) | Invoicing is accurate with supporting documents, receiving slips, and supply inventories. | 5
Met requirements = 5 points
Requirements not met = 0 points
C. | Permits, code and documentation compliance, complete and accurate |  | 10
| 1) | All required permits are valid and posted before expiration. | 3
All required permits maintained = 3 Points
Missing permit or documentation = 0 points
| 2) | Ensure 100% compliance with all national, State, local laws, codes, ASME and OSHA codes and requirements. | 3
Met requirements = 3 Points
Requirements not met = 0 Points
| 3) | Operation and maintenance manuals properly documented and updated to include manufacturer's updates. Log and maintain copies of all warranties for equipment and systems. | 4
Met requirements = 4 Points
Requirements not met = 0 Points

## Energy.Environ.Util. Management
Facility: ___________
Performance Report Card - Energy/Environmental/Utility Management Summary
For The Quarter Ended _____________________
Key Performance Indicator |  | Points Possible | Actual Points | Targeted Points | Comments for less than Targeted Points
A. | Energy Management and Conservation | 15 | 25 | 25 | TD is making a positive effort to manage lighting and AC schedules.
B. | Utility Management | 20 | 15 | 15 | Energy costs are being managed correctly. With the completion of the BAS project, energy savings should increase.
C. | Environmental | 15 | 10 | 10 | LEEDS performance and compliance is being achieved.
Financial Score | Financial Score | 50 | 50 | 50
THE SHEETS THAT HAVE COLUMNS THAT NEED INPUT ARE HIGHLIGHTED IN YELLOW
THE COLUMNS ON THE SHEET THAT NEED INPUT ARE SURROUNDED BY A RED DASHED LINE.
Note on D12: Please do not enter values in the "Actual Points" column. This data is auto-fed from the underlying scoring sheets.

## Energy.Environ.Utility KPIs
Facility: ___________
Performance Report Card - Energy/Environmental/Utility Management
Key Performance Indicators
Tracking Criteria |  |  | Possible Points
A. | Energy Management and Conservation |  | 25
| 1) | Energy conservation is demonstrated within each Facility. [Total Points Possible = 10] | 10
BAS system is fully operational so conservation programs are valid. Temperatures are maintained at agreed levels. Water conservation is a top priority. Leaking faucets and toilets are repaired promptly, cooling tower blow-down occurs at correct intervals. All fountains are monitored to avoid excess water bills. Requirements are met = 10 points Requirements not met = 0 points
| 2) | Cooling Tower Evaporation Credits are submitted and documented on a monthly basis for locations with cooling towers. For package unit locations -- clean outside condensing units and keep free of dust and debris to maintain energy efficiency. For Parking Facilities: Fresh air and exhaust fans fully functional. | 10
Requirements are met = 10 points
Requirements not met = 0 points
| 3) | Reports are generated on consumption and cost for the quarter in each Facility. | 5
Reports completed and submitted as part of monthly report YES = 5 points
Reports completed and submitted as part of monthly report NO = 0 points.
B. | Utility Management |  | 15
| 1) | Lighting operated per event schedules and (a) turned off or limited during non-event times (for buildings) and/or (b) kept on as required during power outages, for exit signs, and to maintain aesthetics of fountains and public art. | 8
Requirements met = 8 points
Requirements not met = 0 points
| 2) | Building temperatures are kept at agreed levels during all events and in all event spaces (applicable to buildings only). For areas without HVAC: Suggest ways to contain energy consumption and costs. Research and pursue opportunities to offset costs with rebates and other programs offered by utility companies and governmental agencies. Annually: Benchmark all utilities and prepare an analysis comparing usage and pricing to comparable markets, explain variances, and present conservation opportunities. | 7
Requirements met = 7 points
Requirements not met = 0 points
C. | Environmental |  | 10
| 1) | Air quality and water testing performed per contract specifications. | 3
Requirements met = 3 points
Requirements not met = 0 points
| 2) | Proper disposal of all hazardous waste materials (if applicable). Ensures all energy conservation initiatives comply with all local, state and national codes and regulations. | 3
Requirements met = 3 points
Requirements not met = 0 Points
| 3) | Recycling of paper, plastic, scrap metal to benefit HFC. | 4
Requirements met = 4 points
Requirements not met = 0 Points

## Pro-Rata (hidden)
Pro-Rata Approach | Total Potential Point Value | GRBCC | Theater District | Total
Pro-Rata Percentages |  | 50% | 50% | 100%
Regional Scores |  | #REF! | #REF!
Strategic - Annual Result | 100 | #REF! | #REF! | #REF!
don't have to fill anything in column B